## Slide 1
WEEK 8
CIS & STIG Benchmarks
and Data Center Fundamentals
Assess controls · design resilience · verify risk reduction
CYBER 444 · Systems & Network Administration
October 20 & 22, 2026
Notes: Open with the final-project launch before the Week 8 technical topics. The published proposal deadline remains the end of Week 9. Citations: - /opt/byu-cyber-444.github.io/schedule/week-08.md - /opt/byu-cyber-444.github.io/final-project-cyber/index.md - /opt/byu-cyber-444.github.io/final-project-it/index.md

## Slide 2
FINAL PROJECT
Choose one capstone; build evidence you can defend
Either track is open to every student, regardless of weekly track.
CHOOSE
One Cyber or IT option
PROPOSE
PDF due end of Week 9
BUILD
Weeks 9–15 in your lab
DEFEND
Docs + recorded demo ≤10 min
Dec 10, 11:59 PM
Course rules
Work alone or in a pair. The project is the final exam; ask staff about scope or grading, not project implementation.
Notes: Launch the project here in Week 8. Both tracks allow individual or pair work with the same scope. The passing proposal is required. Final documentation and a recorded presentation/demo of 10 minutes or less are due December 10 at 11:59 PM in Learning Suite, each worth 5% of the course grade. No graded checkpoints occur between proposal and final submission. Project assistance restrictions are stated on both track overviews. Citations: - /opt/byu-cyber-444.github.io/final-project-cyber/index.md - /opt/byu-cyber-444.github.io/final-project-it/index.md

## Slide 3
CYBER OPTIONS
Six Cyber projects: choose a system to secure
Each option requires meaningful Linux and Windows Server roles.
C1
Hardened infrastructure — CIS Level 2 or DISA STIG
C2
Zero-trust identity and PKI platform
C3
Detection engineering / SOC-in-a-Box
C4
Compliance-as-Code pipeline
C5
Secure container platform
C6
Patch and vulnerability management program
Notes: Ask students to identify which option best uses the skills and infrastructure they already have. The Cyber overview lists all six options. Every Cyber project includes at least one Linux system and one Windows Server system doing real work; both appear in automation, diagram, documentation, and demo. Citations: - /opt/byu-cyber-444.github.io/final-project-cyber/index.md

## Slide 4
IT OPTIONS
Five IT projects: choose an operations problem
All IT options run in the student’s own Proxmox environment.
I1
HA platform with backup and disaster recovery
I2
Monitoring and service desk
I3
On-prem AI inference service
I4
Identity and endpoint lifecycle
I5
Self-service provisioning and golden images
Selection lens
Which option fits your available RAM, time, and evidence you can capture?
Notes: Invite students to compare operational value, resource load, and evidence burden. The IT overview says these projects can run in the student’s own Proxmox lab; no cloud account is required. Most options use Valley Medical Group as the scenario organization. Citations: - /opt/byu-cyber-444.github.io/final-project-it/index.md

## Slide 5
PROPOSAL
A passing proposal makes the build concrete
Submit one PDF in Learning Suite by the end of Week 9.
Option + team
Name the option; pairs identify each person’s ownership
Scope
Answer every checklist item on the chosen option page
Infrastructure
Hostnames, OS, roles, addresses, RAM, disk, and heaviest service
Tools
Name and justify automation, test/scan, and evidence tools
Milestones
Specific outputs for Weeks 10, 11, 12, and 14
Notes: Both proposal pages require all five sections and specific answers. Week 13 is Thanksgiving break with no deliverable. The Cyber proposal additionally requires at least one Linux and one Windows Server system and the Windows role. A failed proposal must be revised and passed before project credit can be received. Do not imply the Week 8 launch changes the deadline. Citations: - /opt/byu-cyber-444.github.io/final-project-cyber/proposal.md - /opt/byu-cyber-444.github.io/final-project-it/proposal.md

## Slide 6
OBJECTIVES
From checklist result to defensible decision
The same reasoning links a failed control and a weak data center design.
ASSESS
Use the right profile and evidence
PRIORITIZE
Explain impact and dependencies
REMEDIATE
Change safely and verify
DESIGN
Reduce facility failure paths
DOCUMENT
Make risk and exceptions explicit
Notes: Frame the two halves of Week 8 around evidence. Cyber students inspect a control result and prove a fix. IT students inspect a facility design and justify a risk roadmap. Ask what a single compliance percentage cannot tell an operator. Citations: - /opt/byu-cyber-444.github.io/schedule/week-08.md - /opt/byu-cyber-444.github.io/labs/copies/cyber-lab-08.md - /opt/byu-cyber-444.github.io/labs/copies/it-lab-08.md

## Slide 7
FOUNDATIONS
CIS Controls and CIS Benchmarks do different jobs
One organizes safeguards; the other specifies configurations for a technology.
CIS CONTROLS v8
Program-level safeguards and priorities
CIS BENCHMARK
Product-specific settings and assessment rules
EVIDENCE
Observed state, exceptions, and verification
Question
If a host passes a Benchmark, what organization-level risk could still remain?
Notes: Distinguish program controls from system configuration guidance. Do not imply a benchmark score proves the whole organization is secure. The schedule names CIS Controls v8. This slide uses the course wording while the CIS site is the authority for current descriptions. Citations: - /opt/byu-cyber-444.github.io/schedule/week-08.md - CIS Controls, https://www.cisecurity.org/controls - CIS Benchmarks FAQ, https://www.cisecurity.org/cis-benchmarks/cis-benchmarks-faq

## Slide 8
PROFILES
Level 1 and Level 2 express different tradeoffs
Select a profile for the system role, then test its operational impact.
LEVEL 1
Base hardening with broad usability
LEVEL 2
Defense in depth where security is paramount
CIS STIG PROFILE
STIG-specific recommendations where provided
Decision
A production service breaks under a Level 2 setting. What evidence belongs in the exception?
Notes: CIS describes Level 1 as base guidance and Level 2 as defense in depth that may affect functionality. Some CIS Benchmarks include a STIG profile; do not confuse that profile with the authoritative DISA STIG for a DoD requirement. Test in a representative environment. Citations: - CIS Benchmarks FAQ, https://www.cisecurity.org/cis-benchmarks/cis-benchmarks-faq

## Slide 9
STIG VS CIS
Control intent can overlap; authority still matters
A federal or DoD requirement may specify an exact STIG and version.
CIS BENCHMARK
Consensus configuration guidance
DISA STIG
Defense security requirements for a platform
CONTRACT
Determines required baseline and evidence
Prompt
Which document governs when a contract explicitly names a DISA STIG?
Notes: Discuss overlapping hardening intent without saying CIS and STIG are interchangeable. A contract or authorizing body determines the required baseline. STIG Viewer and SCAP content help inspect and assess controls, but tool output does not replace understanding a finding. Citations: - /opt/byu-cyber-444.github.io/schedule/week-08.md - CIS Benchmarks FAQ, https://www.cisecurity.org/cis-benchmarks/cis-benchmarks-faq - DoD Cyber Exchange STIG library, https://public.cyber.mil/stigs/downloads/

## Slide 10
STIG WORKFLOW
STIG tooling helps record each control decision
Use the applicable content and keep the evidence tied to its exact version.
SELECT
Platform STIG + version
ASSESS
SCAP checks where supported
REVIEW
STIG Viewer findings
RECORD
Status, evidence, and exception
Question
Which checks still need human judgment after an automated scan?
Notes: The Week 8 schedule names SCAP and STIG Viewer. The DoD Cyber Exchange hosts current STIGs, benchmarks, and Viewer downloads. Automation can collect observations, but applicability, operational impact, and any exception require review. Do not claim every STIG control can be fully automated. Citations: - /opt/byu-cyber-444.github.io/schedule/week-08.md - DoD Cyber Exchange STIG library, https://public.cyber.mil/stigs/downloads/ - NIST SP 800-70 Rev. 5, https://csrc.nist.gov/pubs/sp/800/70/r5/final

## Slide 11
ASSESSMENT
Assessment is a versioned evidence pipeline
Record the product, benchmark, profile, content version, scanner, and scan date.
SCOPE
Host and system role
PROFILE
Benchmark + version
SCAN
Tool + content version
REVIEW
Pass / fail / N.A.
DECIDE
Fix, investigate, or except
Notes: Use NIST checklist guidance to explain why provenance matters. A scan result is about a specific host at a specific time. Ask whether two percentages are comparable when the profiles or content versions differ. Citations: - NIST SP 800-70 Rev. 5, https://csrc.nist.gov/pubs/sp/800/70/r5/final - /opt/byu-cyber-444.github.io/schedule/week-08.md - /opt/byu-cyber-444.github.io/labs/copies/cyber-lab-08.md

## Slide 12
TOOLS
Know what the scanner actually assessed
The Cyber lab uses OpenSCAP on Rocky Linux 9; homework uses a supplied Ubuntu report.
CIS-CAT PRO
CIS assessment tooling; membership limits apply
OPENSCAP
Lab assessment with SCAP Security Guide content
STIG VIEWER / SCAP
Review or assess applicable STIG content
Important distinction
The lab’s OpenSCAP percentage is not an official CIS-certified score.
Notes: The detailed Cyber lab states that CIS-CAT Pro for Rocky Linux is limited to CIS SecureSuite members. OpenSCAP with SCAP Security Guide content is a teaching measurement derived from RHEL content and is not CIS-certified. The homework separately provides a synthetic Ubuntu 22.04 CIS-CAT-style report. Keep these hosts, tools, and datasets distinct. Citations: - /opt/byu-cyber-444.github.io/labs/copies/cyber-lab-08.md - /opt/byu-cyber-444.github.io/homework/cyber-hw-08.md - /opt/byu-cyber-444.github.io/homework/description-files/cyber-hw-08-sample-report.md - DoD Cyber Exchange STIG library, https://public.cyber.mil/stigs/downloads/

## Slide 13
READ THE REPORT
A score is a starting point, not a remediation queue
Homework report: 27 of 48 controls pass; 21 fail on a fictional Ubuntu host.
PASS
27 controls
FAIL
21 controls to analyze
CONTEXT
Different failures carry different risk
Discuss
Which failure could be urgent even if the overall score barely changes?
Notes: The supplied synthetic report is for cyber-hw08-sample01, Ubuntu 22.04.3 LTS, 48 controls, 21 FAIL and 27 PASS. Do not present its percentage as a real scan of the Rocky lab VM. Let students name what a score omits: exploit path, exposure, asset role, breakage risk, and evidence quality. Citations: - /opt/byu-cyber-444.github.io/homework/description-files/cyber-hw-08-sample-report.md - /opt/byu-cyber-444.github.io/homework/cyber-hw-08.md

## Slide 14
PRIORITY
Rank a failed control by plausible harm
Control severity, exploit path, exposure, and operational cost all matter.
Finding
Exact control ID and observed failing state
Threat
Attack technique or failure mode it permits
Exposure
Can an attacker reach or influence this host?
Impact
Privilege, data, service, and business effect
Action
Fix window, test plan, owner, or exception
Notes: The homework asks students to rank all 21 failures and document the top 15. Its three tiers are immediate, 30 days, and 90 days, each justified with a concrete attacker path. Emphasize that this is the assignment framework, not a universal remediation SLA. Citations: - /opt/byu-cyber-444.github.io/homework/cyber-hw-08.md - /opt/byu-cyber-444.github.io/homework/description-files/cyber-hw-08-sample-report.md

## Slide 15
ATT&CK
A control is meaningful when its attack path is clear
Map the failing control to the technique it is intended to frustrate.
CONTROL
Exact ID + title
WEAK STATE
What the scan found
TECHNIQUE
ATT&CK ID + name
RISK
What becomes easier
Lab task
Map 10 failing controls; defend the link rather than matching words.
Notes: The Cyber lab asks students to map their 10 highest-impact failing controls to ATT&CK techniques. The same control may contribute to multiple mitigations, and mappings must be argued, not guessed from a title. Do not give a complete mapping table in visible text. Citations: - /opt/byu-cyber-444.github.io/labs/copies/cyber-lab-08.md - MITRE ATT&CK, https://attack.mitre.org/

## Slide 16
BASELINE
An organizational baseline is a controlled profile
Define where a setting applies and how deviations are approved.
STANDARD
Benchmark version, profile, and scope
TAILORING
Role-specific applicability and tests
DRIFT
Recurring scan and change review
Prompt
Would you give a domain controller and a web server the same exception list?
Notes: An organizational baseline is more than a downloaded checklist. Identify role, owner, version, applicable settings, test environment, and review cadence. Ask what happens when a benchmark updates or a service changes role. Citations: - /opt/byu-cyber-444.github.io/schedule/week-08.md - NIST SP 800-70 Rev. 5, https://csrc.nist.gov/pubs/sp/800/70/r5/final

## Slide 17
EXCEPTIONS
An exception records accepted residual risk
It needs a reason, owner, compensating control, and review date.
Control
ID, benchmark version, and required state
Reason
Specific breakage or non-applicability evidence
Risk
Exposure and likely consequence
Approval
Named risk owner and acceptance decision
Expiry
Review trigger, date, and compensating control
Notes: Use a hypothetical application compatibility exception, not a real institutional policy. An exception is not a silent PASS. Ask how a scanner can preserve visibility of the gap while operational leaders accept it for a bounded period. Citations: - /opt/byu-cyber-444.github.io/schedule/week-08.md - NIST SP 800-70 Rev. 5, https://csrc.nist.gov/pubs/sp/800/70/r5/final

## Slide 18
CYBER LAB
Rocky Linux lab: preserve a before and after trail
Use OpenSCAP Level 1 Server assessment as the baseline.
SCAN
Baseline XML + HTML
SELECT
10 high-impact failures
FIX
Five controls by hand
RESCAN
Compare the same rules
DETECT
AIDE simulated change
Notes: The lab VM is cyber-lab08-cis01. Students install openscap-scanner, scap-security-guide, and AIDE. The lab says oscap exit code 2 when a rule fails is normal. Students export baseline and post-remediation reports, verify five manual fixes, and demonstrate AIDE detection. Avoid telling them to run a generated fix script, which the lab explicitly prohibits. Citations: - /opt/byu-cyber-444.github.io/labs/copies/cyber-lab-08.md

## Slide 19
REMEDIATION
Every fix needs a rollback and proof
A junior admin should be able to repeat the runbook.
Current
Exact failing value or configuration
Target
Required setting and reason
Change
Commands, checks, and service impact
Verify
Live-state command plus expected output
Recover
Rollback and workflow test
Notes: The homework demands this runbook for every Tier 1 and Tier 2 finding and at least five Tier 3 controls. The lab requires five manual remediations with verification and rollback. Explain why merely editing a file is not proof the daemon loaded the setting. Citations: - /opt/byu-cyber-444.github.io/homework/cyber-hw-08.md - /opt/byu-cyber-444.github.io/labs/copies/cyber-lab-08.md

## Slide 20
LIVE STATE
Check what the service is using
Validate syntax, reload, inspect effective state, and test access.
sudo sshd -t
sudo systemctl reload sshd
sudo sshd -T | grep -i maxauthtries
# Then confirm a second SSH session can log in
Safety gate
Keep the first session open until the second login succeeds.
Notes: This is the worked SSH MaxAuthTries example already present in the Cyber lab. The intended value is 4. Syntax validation should be silent on success; the effective output should show maxauthtries 4. The second session is an access test before closing the first. Citations: - /opt/byu-cyber-444.github.io/labs/copies/cyber-lab-08.md

## Slide 21
FIM
AIDE compares live files to a trusted baseline
Tripwire is another FIM tool; the lab uses AIDE to detect later changes.
BASELINE
Initialize after approved changes
CHANGE
Simulated unauthorized file
CHECK
AIDE reports added / changed
CLEAN UP
Remove file; inspect residual alerts
Lab evidence
Capture the check that detects the simulated SUID binary.
Notes: The schedule names AIDE and Tripwire as filesystem integrity monitoring examples. The lab uses AIDE: students plant a simulated hidden SUID binary under /usr/local/bin, check that AIDE detects it, remove it, and repeat the check. A directory mtime change may still appear after cleanup. The slide does not display the exact attack command; the lab page supplies the procedure. Citations: - /opt/byu-cyber-444.github.io/labs/copies/cyber-lab-08.md - /opt/byu-cyber-444.github.io/schedule/week-08.md

## Slide 22
CYBER DISCUSSION
A compliance result does not decide the change
A critical production service fails one hardening rule after a planned upgrade.
The fix could interrupt authentication. What do you do before accepting or applying it?
What exact evidence would confirm applicability and exposure?
How would you test the fix and a rollback?
Who owns a bounded exception if the fix cannot ship now?
GROUP DISCUSSION
Notes: Independent discussion case. Look for a concrete failure state, service owner, test in staging, verified backup or rollback, monitoring and second-session access test if authentication is affected. An exception needs compensating controls, owner, and expiry. Accept several defensible choices if grounded in evidence; do not require an immediate production change. Citations: - /opt/byu-cyber-444.github.io/schedule/week-08.md - /opt/byu-cyber-444.github.io/labs/copies/cyber-lab-08.md - NIST SP 800-70 Rev. 5, https://csrc.nist.gov/pubs/sp/800/70/r5/final

## Slide 23
DATA CENTER
Facility design is a chain of failure paths
A resilient server cannot outlast a failed common power, cooling, or access path.
CAPACITY
Can systems carry the required load?
PATHS
Can one path be removed safely?
OPERATIONS
Can staff detect and respond?
Framing question
Where does a single point of failure hide when a diagram shows duplicate components?
Notes: Transition from host controls to facility risk. Draw attention to full-path behavior, not just the count of devices. The Week 8 schedule includes tier design, power, cooling, physical security, cabling, and out-of-band access. Citations: - /opt/byu-cyber-444.github.io/schedule/week-08.md - /opt/byu-cyber-444.github.io/labs/copies/it-lab-08.md - Uptime Institute Tier Certification, https://uptimeinstitute.com/tier-certification/

## Slide 24
TIER TOPOLOGY
Uptime Tiers describe infrastructure behavior
A service SLA is a separate promise; Tier alone has no fixed availability percentage.
Tier I
Basic capacity; maintenance requires shutdown
Tier II
Redundant capacity components; distribution remains vulnerable
Tier III
Concurrently maintainable without affecting IT operation
Tier IV
Fault tolerant against one equipment or path interruption
Precision
A classroom assessment is not an Uptime Institute certification.
Notes: Use Uptime Institute descriptions. Tier III means every capacity component and distribution path can be removed on a planned basis without affecting operations. Tier IV adds fault tolerance. Uptime states no direct relationship between a Tier and a number of nines. A service SLA is a separate contractual promise that depends on scope and operations. Course homework percentages are exercise inputs only, not official certification targets. Citations: - Uptime Institute Tier Certification, https://uptimeinstitute.com/tier-certification/ - Uptime Institute, 99 Red Flags, https://journal.uptimeinstitute.com/99-red-flags/ - Uptime Institute Tier Classifications, https://uptimeinstitute.com/tiers - /opt/byu-cyber-444.github.io/homework/it-hw-08.md

## Slide 25
MERIDIAN
Meridian: inspect the whole site before naming a Tier
The supplied survey describes a regional financial-services data center.
POWER
2 × 80 kVA UPS; one 200 kW generator; single-cord servers
COOLING
6 × 30-ton CRAC; partial cold-aisle containment
NETWORK
One ISP and one edge firewall; two core switches
Task
Which component count looks redundant until you trace its distribution path?
Notes: Meridian has 350 employees and $2.1B AUM in the supplied scenario. IT load is 180 kW and facility draw is 306 kW. Its facility assessment should be presented as a student analysis, not a certified Tier determination. Do not invent specifications beyond the site survey. Citations: - /opt/byu-cyber-444.github.io/labs/copies/it-lab-08.md - /opt/byu-cyber-444.github.io/homework/description-files/it-hw-08-survey-findings.md

## Slide 26
FAILURE DOMAINS
Redundancy must survive a component or path outage
Trace supply through conversion, distribution, and the server power cord.
UTILITY
Single feed
UPS
Two modules
PDU
A/B distribution
SERVER
Single-corded load
Discussion
If one PDU is removed for maintenance, which servers remain powered?
Notes: The Mermaid-like flow is deliberately linear for one representative power path; it does not imply the two UPS or PDUs are serial. The site survey says two UPS units and two PDUs per rack row but single-corded servers. Ask students to state the missing distribution and load details before estimating a precise percentage of affected servers. Citations: - /opt/byu-cyber-444.github.io/labs/copies/it-lab-08.md - /opt/byu-cyber-444.github.io/homework/description-files/it-hw-08-survey-findings.md - Uptime Institute Tier Certification, https://uptimeinstitute.com/tier-certification/

## Slide 27
UPS CAPACITY
UPS nameplate capacity must be converted to load
Compare standby, line-interactive, and double-conversion UPS designs.
Meridian: 2 × 80 kVA at 0.9 power factor
IT load: 180 kW
What is combined UPS capacity?
What remains after one UPS fails?
What can each carry at 80% loading?
Pair calculation
State the deficit or margin for normal and one-unit-down operation.
Notes: First compare the three common UPS operating designs: standby switches to battery after a failure, line-interactive adds voltage regulation, and double-conversion normally supplies the load through an inverter. Do not infer transfer behavior from the scenario label alone. Worked values from lab data: each 80 kVA UPS at 0.9 power factor is 72 kW; combined 144 kW, 36 kW below the 180 kW IT load. One UPS leaves 72 kW, 108 kW below IT load. At 80% loading, each supports 57.6 kW. The supplied lab itself gives the 144 kW value; keep answers in notes here to preserve the exercise. Citations: - /opt/byu-cyber-444.github.io/labs/copies/it-lab-08.md - /opt/byu-cyber-444.github.io/homework/description-files/it-hw-08-survey-findings.md - /opt/byu-cyber-444.github.io/schedule/week-08.md

## Slide 28
POWER PATHS
A/B distribution needs dual-powered loads
Duplicate PDUs do little for a server attached to one cord.
A FEED
One power path
B FEED
Independent alternate path
LOAD
Dual PSUs or transfer design needed
Question
What else would you inspect before declaring the paths independent?
Notes: Students should examine source independence, UPS capacity, PDU topology, maintenance bypass, breakers, transfer devices, and server PSU connections. Meridian’s single-corded servers create a dependency on one PDU even with two PDUs per row. Citations: - /opt/byu-cyber-444.github.io/labs/copies/it-lab-08.md - /opt/byu-cyber-444.github.io/homework/description-files/it-hw-08-survey-findings.md - Uptime Institute Tier Certification, https://uptimeinstitute.com/tier-certification/

## Slide 29
GENERATOR
Backup runtime starts with a feasible load
Meridian’s 200 kW generator faces a measured 306 kW facility draw.
Facility draw: 306 kW
Generator output: 200 kW
Compute the shortfall.
Which loads can be shed while protecting critical IT?
Decision
Write a five-item load-shedding order, then test the assumptions.
Notes: The arithmetic shortfall is 106 kW before derating or startup transients. The lab asks for a five-item load shedding list and notes a 72-hour tank and approximate 14.5 gallons/hour fuel consumption at 200 kW. A 72-hour fuel rating is not proof the full 306 kW facility can be carried. Do not imply a reliable runtime without usable fuel quantity and actual load curve. Citations: - /opt/byu-cyber-444.github.io/labs/copies/it-lab-08.md - /opt/byu-cyber-444.github.io/homework/description-files/it-hw-08-survey-findings.md

## Slide 30
REDUNDANCY
N+1 and 2N+1 describe capacity, not a Tier by themselves
Design must also account for distribution paths and maintainability.
N
Capacity needed for the critical load
N+1
One extra unit can fail or be maintained
2N+1
Two full sets plus one spare unit
Check
Can every component be isolated without interrupting IT?
Notes: The schedule explicitly includes 2N+1 design. Teach the notation as capacity topology shorthand, not an automatic claim of Tier III or IV. Uptime evaluates the whole site behavior, including all components and paths. Citations: - /opt/byu-cyber-444.github.io/schedule/week-08.md - Uptime Institute Tier Certification, https://uptimeinstitute.com/tier-certification/ - Uptime Institute Tier Classifications, https://uptimeinstitute.com/tiers

## Slide 31
COOLING
Airflow design protects inlet conditions
Containment, sensors, and maintenance paths matter alongside CRAC count.
CAPACITY
Six CRAC units, five operating
AIRFLOW
Rows 1–4 contained; rows 5–8 open
SENSING
Measure inlet temperature and humidity
Meridian prompt
Where could a rack overheat even if the room average is acceptable?
Notes: Meridian’s average inlet temperature is 75°F. Partial containment can create hot spots even when an average is in range. The lab asks students to assess the 75°F value against the provided ASHRAE A2 envelope and to analyze rows 5–8. Avoid inventing site-specific humidity thresholds. Citations: - /opt/byu-cyber-444.github.io/labs/copies/it-lab-08.md - /opt/byu-cyber-444.github.io/homework/description-files/it-hw-08-survey-findings.md - /opt/byu-cyber-444.github.io/schedule/week-08.md

## Slide 32
PUE
PUE quantifies facility power overhead
Use the measured 306 kW facility draw and 180 kW IT load.
PUE = total facility power / IT power
Meridian PUE = 306 / 180 = ?
At PUE 1.4, what annual power-cost difference
results at $0.12/kWh?
Calculate
Assume the 180 kW IT load is constant for 8,760 hours.
Notes: Answers: PUE 1.70. Compared with 1.4 at fixed 180 kW IT load and $0.12/kWh, annual difference is (1.70-1.4)×180×8760×0.12 = $56,764.80. This is a course exercise estimate, not a measured savings guarantee. The lab provides the PUE benchmark comparison and assumes $0.12/kWh. Citations: - /opt/byu-cyber-444.github.io/labs/copies/it-lab-08.md - /opt/byu-cyber-444.github.io/homework/description-files/it-hw-08-survey-findings.md

## Slide 33
ENVIRONMENT
DCIM turns conditions into response triggers
Observe temperature, humidity, power, alarms, and device state by location.
SENSE
Rack inlet + humidity
ALERT
Location + threshold + trend
RESPOND
Owner + escalation path
REVIEW
Incident and maintenance record
Design prompt
Which alert would detect a failing cooling zone before a server shuts down?
Notes: The schedule includes environmental monitoring, hot/cold aisles, and DCIM. Treat thresholds as site-specific engineering choices rather than inventing a universal number. Meridian’s staffing is weekday 7 AM–7 PM, with an on-call vendor’s four-hour on-site response SLA after hours; students should account for that delay. Citations: - /opt/byu-cyber-444.github.io/schedule/week-08.md - /opt/byu-cyber-444.github.io/homework/description-files/it-hw-08-survey-findings.md

## Slide 34
PHYSICAL SECURITY
Physical controls need coverage and accountability
Mantraps, badges, cameras, visitor logs, and rack controls serve different purposes.
PREVENT
Access authorization and anti-tailgating
DETECT
CCTV coverage and alert review
ACCOUNT
Visitor escort and media custody
Question
Where would Meridian lack evidence after an incident inside the server room?
Notes: Meridian has a card-access double-door entrance and badge plus PIN server-room access, but no cameras inside the server room. Any badged employee may escort visitors, racks are open-frame, and media destruction lacks a chain-of-custody log. Ask students to separate prevention, detection, and accountability. Citations: - /opt/byu-cyber-444.github.io/schedule/week-08.md - /opt/byu-cyber-444.github.io/labs/copies/it-lab-08.md - /opt/byu-cyber-444.github.io/homework/description-files/it-hw-08-survey-findings.md

## Slide 35
SITE WALK
Spot a control gap from a facility observation
Turn a finding into risk, remediation, cost, and timeline.
A visitor passes the mantrap with an employee and later enters an open rack aisle. What would you investigate?
Which access and camera records can reconstruct the path?
What immediate control would reduce repeat risk?
What longer-term rack or escort change is justified?
GROUP DISCUSSION
Notes: Keep the finding grounded in Meridian’s survey, which includes a mantrap, any-badged-employee escorting, no internal server-room CCTV, and open-frame racks. A strong response avoids claiming that the visitor actually touched equipment, since that is not in the prompt; it identifies evidence gaps and plausible controls. Citations: - /opt/byu-cyber-444.github.io/labs/copies/it-lab-08.md - /opt/byu-cyber-444.github.io/homework/description-files/it-hw-08-survey-findings.md

## Slide 36
RACKS + COLO
The rack is part of the operational design
Cabling, labels, airflow, power budgets, and contracts shape recovery.
Rack
Space, doors, weight, airflow, and service access
Cabling
Structured runs and labels; TIA-568 terminology
Power
Circuit/PDU mapping and metered capacity
Colocation
Access, cross-connect, remote-hands, and SLA terms
Notes: The Week 8 schedule lists rack management, TIA-568 structured cabling, and colocation agreements. Discuss these as design and documentation considerations. Do not imply a particular colocation provider, contract term, or standard clause for Meridian, which is an on-premises scenario. Citations: - /opt/byu-cyber-444.github.io/schedule/week-08.md

## Slide 37
OUT-OF-BAND
The management plane can bypass the OS
IPMI, iDRAC, and iLO need isolation, identity controls, and maintenance.
NETWORK
Dedicated management VLAN or network
ACCESS
Unique credentials, MFA path, logging
LIFECYCLE
Firmware and certificate review
Meridian finding
The supplied iDRAC is on the production VLAN with factory credentials and legacy SNMP.
Notes: The site survey includes an iDRAC at 10.0.0.50 on the same VLAN as production servers, default credentials, SNMP v1 public, an old firmware version, and a self-signed factory certificate. Do not show credentials on the student slide. The lab’s required path is a security assessment; driving a simulated BMC is optional. Citations: - /opt/byu-cyber-444.github.io/schedule/week-08.md - /opt/byu-cyber-444.github.io/labs/copies/it-lab-08.md - /opt/byu-cyber-444.github.io/homework/description-files/it-hw-08-survey-findings.md

## Slide 38
RISK ROADMAP
Prioritize the failures that threaten service first
A credible roadmap ties each action to a named risk and success measure.
Immediate
Low-cost controls and exposure reduction
Short-term
Budgeted medium-cost changes
Long-term
Capital redesign and resilience upgrades
Evidence
Owner, cost, score change, and measurable result
Tier language
Say “assessed against Tier criteria” unless Uptime Institute certifies the site.
Notes: The IT homework requires a risk register with at least 12 risks and an immediate, short-term, and long-term roadmap. It asks for Tier analysis. Treat the provided percentage table in homework as exercise inputs only: Uptime says Tier classification does not map directly to an availability percentage. Discuss the gap without changing the assigned calculations. Citations: - /opt/byu-cyber-444.github.io/homework/it-hw-08.md - /opt/byu-cyber-444.github.io/labs/copies/it-lab-08.md - /opt/byu-cyber-444.github.io/homework/description-files/it-hw-08-survey-findings.md - Uptime Institute Tier Certification, https://uptimeinstitute.com/tier-certification/ - Uptime Institute, 99 Red Flags, https://journal.uptimeinstitute.com/99-red-flags/

## Slide 39
CYBER LAB BRIEF
Lab 8: assess, fix five controls, then detect drift
Rocky Linux 9 VM · OpenSCAP · manual remediation · AIDE.
Baseline
HTML/XML assessment and 10 high-impact failures
Map
ATT&CK techniques for those 10 controls
Remediate
Five manual fixes with live-state verification
Compare
Post-scan results and score delta
Detect
AIDE output showing simulated SUID file
Notes: Brief the detailed Cyber lab deliverables exactly. Students must retain baseline and post-remediation HTML, mapping table, five-entry log, comparison table, and AIDE detection output. OpenSCAP is not a CIS-certified score. The lab page linked by the schedule is a stub, so the agreed source is the detailed copy. Citations: - /opt/byu-cyber-444.github.io/labs/copies/cyber-lab-08.md - /opt/byu-cyber-444.github.io/schedule/week-08.md

## Slide 40
CYBER HW BRIEF
HW 8: turn the supplied report into a runbook
Ubuntu 22.04 sample report · 48 controls · 21 FAIL.
Rank
All 21 failures; document the top 15
Tier
Immediate, 30-day, and 90-day groups with rationale
Fix
Current, target, command, verification, side effects
Prove
Before/after evidence for at least five controls
Submit
Markdown report and a PR with the required title
Notes: The homework uses the supplied synthetic CIS-CAT-style Ubuntu report; students do not need to run a scanner to obtain findings. The assignment calls for verified commands for every Tier 1 and Tier 2 control and at least five Tier 3 controls, with before-and-after evidence for at least five. Avoid copying any editorial notes or hidden web-page text into the deck. Citations: - /opt/byu-cyber-444.github.io/homework/cyber-hw-08.md - /opt/byu-cyber-444.github.io/homework/description-files/cyber-hw-08-sample-report.md

## Slide 41
IT LAB BRIEF
Lab 8: assess Meridian’s site from the provided design
Tier topology, capacity, cooling, physical security, and out-of-band access.
Classify
Assess Tier criteria and major failure paths
Calculate
UPS, generator, and PUE from given values
Inspect
Five physical findings and management-plane risks
Report
Site assessment with prioritized upgrade roadmap
Optional
Operate a simulated BMC if desired
Notes: The IT lab requires the out-of-band security assessment even if the hands-on simulated BMC path is skipped. Students should base findings on the provided facility specifications, not a generic data center. The schedule-linked lab page is a stub; the agreed source is the detailed copy. Citations: - /opt/byu-cyber-444.github.io/labs/copies/it-lab-08.md - /opt/byu-cyber-444.github.io/homework/description-files/it-hw-08-survey-findings.md - /opt/byu-cyber-444.github.io/schedule/week-08.md

## Slide 42
IT HW BRIEF
HW 8: make a financial case from survey evidence
Write for Meridian’s CTO and facilities team.
Summary
Nontechnical financial exposure and top action
Register
At least 12 risks with scored rationale
Tier
Criteria, three gaps, and cost-benefit judgment
Roadmap
Three horizons with owner, cost, and success measure
Reliability
Sourced MTBF/MTTR calculations for selected risks
Notes: The IT homework requires a formal report, at least 12 risks, and reliability calculations for two power risks and one cooling risk. Its Tier availability figures are exercise assumptions; do not attribute them to Uptime Institute as current official targets. Use the separate site survey source for facts and submit the Markdown report and requested PR. Citations: - /opt/byu-cyber-444.github.io/homework/it-hw-08.md - /opt/byu-cyber-444.github.io/homework/description-files/it-hw-08-survey-findings.md - Uptime Institute Tier Certification, https://uptimeinstitute.com/tier-certification/ - Uptime Institute, 99 Red Flags, https://journal.uptimeinstitute.com/99-red-flags/

## Slide 43
EXIT DECISION
What evidence turns an assessment into action?
Choose one finding from either track and defend a next step.
A scan failure or facility weakness is found. What should happen before anyone calls it “fixed”?
State the observed condition and credible failure path.
Name the owner, action, risk of change, and verification.
Record any residual risk and when it will be revisited.
GROUP DISCUSSION
Notes: Use this as an independent exit discussion. Look for both control effectiveness and operational consequences. Cyber answer examples: live-state verification and rescan. IT answer examples: capacity/path test, facility evidence, or a measured risk reduction. Do not require one answer or reveal it in the visible prompt. Citations: - /opt/byu-cyber-444.github.io/labs/copies/cyber-lab-08.md - /opt/byu-cyber-444.github.io/labs/copies/it-lab-08.md - /opt/byu-cyber-444.github.io/homework/cyber-hw-08.md - /opt/byu-cyber-444.github.io/homework/it-hw-08.md

## Slide 44
REFERENCES
Primary sources and course cases
Slide-specific source links are in speaker notes.
Course
Week 8 schedule; both labs; both homework briefs
Projects
Cyber and IT overviews and proposal pages
Benchmarks
CIS FAQ, NIST checklist guidance, DoD STIG library
Facility
Uptime Institute Tier definitions and caveat
Cases
Synthetic Ubuntu report; Meridian site survey
Notes: Course sources: Week 8 schedule, detailed Cyber and IT lab copies, homework briefs and supplied datasets, and both final-project tracks. External primary sources: CIS Benchmarks FAQ, NIST SP 800-70 Rev. 5, DoD Cyber Exchange STIG library, MITRE ATT&CK, and Uptime Institute Tier descriptions. The Uptime Institute 99 Red Flags article explicitly rejects a direct Tier-to-nines mapping. Citations: - /opt/byu-cyber-444.github.io/schedule/week-08.md - /opt/byu-cyber-444.github.io/labs/copies/cyber-lab-08.md - /opt/byu-cyber-444.github.io/labs/copies/it-lab-08.md - /opt/byu-cyber-444.github.io/homework/cyber-hw-08.md - /opt/byu-cyber-444.github.io/homework/it-hw-08.md - /opt/byu-cyber-444.github.io/final-project-cyber/index.md - /opt/byu-cyber-444.github.io/final-project-it/index.md - CIS Benchmarks FAQ, https://www.cisecurity.org/cis-benchmarks/cis-benchmarks-faq - NIST SP 800-70 Rev. 5, https://csrc.nist.gov/pubs/sp/800/70/r5/final - DoD Cyber Exchange STIG library, https://public.cyber.mil/stigs/downloads/ - Uptime Institute Tier Certification, https://uptimeinstitute.com/tier-certification/ - Uptime Institute, 99 Red Flags, https://journal.uptimeinstitute.com/99-red-flags/ - MITRE ATT&CK, https://attack.mitre.org/